## NIRAJ TOC SAMPLES LOT1
[Header]
System | TOC_TN
S/W Version | 1
User
Date/Time | 2023-12-08 10:24
Comments
[System]
Instrument Options | TOC/ASI/IC Unit/TN/Sparge Kit/
[Data]
Type | Anal. | Sample Name | Sample ID | Result(TOC) | Result(TC) | Result(IC) | Result(POC) | Result(NPOC) | Result(TN) | Unit | Vial | Date / Time
Unknown | TC/TN | BLANK |  |  | 0.2377 |  |  |  | 1.528 | mg/L | 1 | 2023-12-07 12:41
Unknown | TC/TN | BLANK |  |  | 0.2721 |  |  |  | 1.448 | mg/L | 1 | 2023-12-07 13:03
Unknown | TC/TN | BLANK |  |  | 0.2313 |  |  |  | 1.1 | mg/L | 1 | 2023-12-07 13:25
Standard | TC | TC Standards | TC Standards |  | 100 |  |  |  |  | mg/L | 2, 3, 3, 3, 3, 3 | 2023-12-07 14:58
Standard | TN | TN calibration std 50 | TN Standards | [5 empty] | 50 | mg/L | 4, 5, 5, 5, 5, 5 | 2023-12-07 16:36
Unknown | TC/TN | BLANK |  |  | 0.1449 |  |  |  | 0 | mg/L | 6 | 2023-12-07 16:49
Unknown | TC/TN | tc 50 |  |  | 49.59 |  |  |  | 0 | mg/L | 7 | 2023-12-07 17:05
Unknown | TC/TN | TN 25 |  |  | 0.4567 |  |  |  | 23.89 | mg/L | 8 | 2023-12-07 17:24
Unknown | TC/TN | A15NF |  |  | 10.45 |  |  |  | 1.868 | mg/L | 9 | 2023-12-07 17:43
Unknown | TC/TN | A21 NF |  |  | 10.71 |  |  |  | 1.735 | mg/L | 10 | 2023-12-07 18:01
Unknown | TC/TN | CF |  |  | 80.3 |  |  |  | 0.3557 | mg/L | 11 | 2023-12-07 18:16
Unknown | TC/TN | A25NF |  |  | 9.786 |  |  |  | 2.528 | mg/L | 12 | 2023-12-07 18:31
Unknown | TC/TN | A13F |  |  | 126.9 |  |  |  | 5.655 | mg/L | 13 | 2023-12-07 18:46
Unknown | TC/TN | A25F |  |  | 134 |  |  |  | 6.397 | mg/L | 14 | 2023-12-07 19:00
Unknown | TC/TN | A24F |  |  | 134.1 |  |  |  | 7.167 | mg/L | 15 | 2023-12-07 19:19
Unknown | TC/TN | A17NF |  |  | 10.92 |  |  |  | 3.867 | mg/L | 16 | 2023-12-07 19:32
Unknown | TC/TN | A15F |  |  | 110.4 |  |  |  | 6.125 | mg/L | 17 | 2023-12-07 19:45
Unknown | TC/TN | B17NF |  |  | 8.741 |  |  |  | 3.115 | mg/L | 18 | 2023-12-07 19:59
Unknown | TC/TN | B17F |  |  | 145.1 |  |  |  | 7.981 | mg/L | 19 | 2023-12-07 20:16
Unknown | TC/TN | A11F |  |  | 119.7 |  |  |  | 6.355 | mg/L | 20 | 2023-12-07 20:34
Unknown | TC/TN | A10NF |  |  | 17.36 |  |  |  | 155.4 | mg/L | 21 | 2023-12-07 20:53
Unknown | TC/TN | A20F |  |  | 109.4 |  |  |  | 5.372 | mg/L | 22 | 2023-12-07 21:10
Unknown | TC/TN | A23F |  |  | 100.6 |  |  |  | 4.814 | mg/L | 23 | 2023-12-07 21:24
Unknown | TC/TN | A22NF |  |  | 9.319 |  |  |  | 2.245 | mg/L | 24 | 2023-12-07 21:41
Unknown | TC/TN | BLANK |  |  | 0.2396 |  |  |  | 0 | mg/L | 6 | 2023-12-07 21:53
Unknown | TC/TN | tc 50 |  |  | 42.69 |  |  |  | 0 | mg/L | 7 | 2023-12-07 22:07
Unknown | TC/TN | TN 25 |  |  | 0.4549 |  |  |  | 24.18 | mg/L | 8 | 2023-12-07 22:29
Unknown | TC/TN | A8F |  |  | 93.2 |  |  |  | 226.6 | mg/L | 25 | 2023-12-07 22:57
Unknown | TC/TN | A5NF |  |  | 11.43 |  |  |  | 23.36 | mg/L | 26 | 2023-12-07 23:16
Unknown | TC/TN | A20NF |  |  | 9.275 |  |  |  | 2.975 | mg/L | 27 | 2023-12-07 23:35
Unknown | TC/TN | A23NF |  |  | 7.6 |  |  |  | 1.534 | mg/L | 28 | 2023-12-07 23:51
Unknown | TC/TN | A19NF |  |  | 9.989 |  |  |  | 2.325 | mg/L | 29 | 2023-12-08 00:05
Unknown | TC/TN | A6NF |  |  | 18.77 |  |  |  | 197.1 | mg/L | 30 | 2023-12-08 00:24
Unknown | TC/TN | A18NF |  |  | 11.62 |  |  |  | 6.483 | mg/L | 31 | 2023-12-08 00:47
Unknown | TC/TN | A9NF |  |  | 31.3 |  |  |  | 228.6 | mg/L | 32 | 2023-12-08 01:16
Unknown | TC/TN | A22F |  |  | 123.6 |  |  |  | 7.901 | mg/L | 33 | 2023-12-08 01:39
Unknown | TC/TN | A21F |  |  | 130.8 |  |  |  | 6.332 | mg/L | 34 | 2023-12-08 02:03
Unknown | TC/TN | A24NF |  |  | 13.41 |  |  |  | 1.947 | mg/L | 35 | 2023-12-08 02:23
Unknown | TC/TN | A7NF |  |  | 30.36 |  |  |  | 219.8 | mg/L | 36 | 2023-12-08 02:45
Unknown | TC/TN | A10F |  |  | 93.12 |  |  |  | 194.7 | mg/L | 37 | 2023-12-08 03:14
Unknown | TC/TN | A9F x2 DILUTION |  |  | 29.4 |  |  |  | 104.8 | mg/L | 38 | 2023-12-08 03:35
Unknown | TC/TN | BLANK |  |  | 0.2523 |  |  |  | 1.169 | mg/L | 39 | 2023-12-08 03:58
Unknown | TC/TN | tc 50 |  |  | 48.54 |  |  |  | 0.819 | mg/L | 40 | 2023-12-08 04:22
Unknown | TC/TN | TN 25 |  |  | 0.4412 |  |  |  | 20.81 | mg/L | 41 | 2023-12-08 04:43
Unknown | TC/TN | BLANK |  |  | 0.1428 |  |  |  | 0 | mg/L | 42 | 2023-12-08 04:58
Unknown | TC/TN | BLANK |  |  | 0.1703 |  |  |  | 0 | mg/L | 42 | 2023-12-08 05:09
Unknown | TC/TN | BLANK |  |  | 0.156 |  |  |  | 0 | mg/L | 42 | 2023-12-08 05:21
Lot 2 Nitrogen data from this data set
Unknown | TC/TN | BLANK |  |  | 0.1308 |  |  |  | 0 | mg/L | 1 | 2023-12-11 12:19
Unknown | TC/TN | BLANK |  |  | 0.1312 |  |  |  | 0 | mg/L | 1 | 2023-12-11 12:30
Unknown | TC/TN | BLANK |  |  | 0.1343 |  |  |  | 0 | mg/L | 1 | 2023-12-11 12:38
Standard | TC | TC Standards | TC Standards |  | 100 |  |  |  |  | mg/L | 2, 3, 3, 3, 3, 3 | 2023-12-11 14:25
Standard | TN | TN calibration std 50 | TN Standards | [5 empty] | 50 | mg/L | 4, 5, 5, 5, 5, 5 | 2023-12-11 16:16
Unknown | TC/TN | Blank |  |  | 0.2784 |  |  |  | 0 | mg/L | 6 | 2023-12-11 16:34
Unknown | TC/TN | tc 50 |  |  | 69.65 |  |  |  | 0 | mg/L | 7 | 2023-12-11 16:59
Unknown | TC/TN | tn 25 |  |  | 0.906 |  |  |  | 0 | mg/L | 8 | 2023-12-11 17:21
Unknown | TC/TN | A16NF |  |  | 14.62 |  |  |  | 0 | mg/L | 9 | 2023-12-11 17:44
Standard | TN | TN calibration std 50 | TN Standards | [5 empty] | 50 | mg/L | 4, 5, 5, 5, 5, 5 | 2023-12-11 19:47
Unknown | TC/TN | A16F |  |  | 139.3 |  |  |  | 5.273 | mg/L | 10 | 2023-12-11 20:11
Unknown | TC/TN | A11NF |  |  | 12.54 |  |  |  | 0 | mg/L | 11 | 2023-12-11 20:34
Unknown | TC/TN | A19F |  |  | 163.2 |  |  |  | 0 | mg/L | 12 | 2023-12-11 21:00
Unknown | TC/TN | A18F |  |  | 176.3 |  |  |  | 0 | mg/L | 13 | 2023-12-11 21:21
Unknown | TC/TN | A12F |  |  | 97.79 |  |  |  | 5.757 | mg/L | 14 | 2023-12-11 21:44
Unknown | TC/TN | A14F |  |  | 117.3 |  |  |  | 6.94 | mg/L | 15 | 2023-12-11 22:06
Unknown | TC/TN | A3NF |  |  | 12.85 |  |  |  | 10.89 | mg/L | 16 | 2023-12-11 22:27
Unknown | TC/TN | A13NF |  |  | 12.6 |  |  |  | 3.217 | mg/L | 17 | 2023-12-11 22:43
Unknown | TC/TN | A17F |  |  | 80.85 |  |  |  | 11.33 | mg/L | 18 | 2023-12-11 23:00
Unknown | TC/TN | A7F |  |  | 97.98 |  |  |  | 284.7 | mg/L | 19 | 2023-12-11 23:24
Unknown | TC/TN | A4F |  |  | 109.3 |  |  |  | 9.532 | mg/L | 20 | 2023-12-11 23:46
Unknown | TC/TN | A5F |  |  | 117.7 |  |  |  | 24.32 | mg/L | 21 | 2023-12-12 00:09
Unknown | TC/TN | B24F |  |  | 175.1 |  |  |  | 7.201 | mg/L | 22 | 2023-12-12 00:32
Unknown | TC/TN | B16NF |  |  | 15.4 |  |  |  | 9.154 | mg/L | 23 | 2023-12-12 00:49
Unknown | TC/TN | BLANK |  |  | 0.3576 |  |  |  | 0 | mg/L | 6 | 2023-12-12 01:05
Unknown | TC/TN | TC 50 |  |  | 84.45 |  |  |  | 0 | mg/L | 7 | 2023-12-12 01:27
Unknown | TC/TN | TN25 |  |  | 0.9387 |  |  |  | 0 | mg/L | 8 | 2023-12-12 01:50
Unknown | TC/TN | A14NF |  |  | 19.82 |  |  |  | 0 | mg/L | 24 | 2023-12-12 02:14
Unknown | TC/TN | A12NF |  |  | 17.56 |  |  |  | 0 | mg/L | 25 | 2023-12-12 02:38
Unknown | TC/TN | B23F |  |  | 192.8 |  |  |  | 0 | mg/L | 26 | 2023-12-12 03:05
Unknown | TC/TN | A8NF |  |  | 51.25 |  |  |  | 192.4 | mg/L | 27 | 2023-12-12 03:41
Unknown | TC/TN | A6F |  |  | 112.9 |  |  |  | 133.6 | mg/L | 28 | 2023-12-12 04:17
Unknown | TC/TN | A2F |  |  | 95.41 |  |  |  | 16.4 | mg/L | 29 | 2023-12-12 04:36
Unknown | TC/TN | B16F |  |  | 155.4 |  |  |  | 18.27 | mg/L | 30 | 2023-12-12 04:54
Unknown | TC/TN | B15NF |  |  | 14.75 |  |  |  | 5.073 | mg/L | 31 | 2023-12-12 05:17
Unknown | TC/TN | B24NF |  |  | 9.09 |  |  |  | 2.439 | mg/L | 32 | 2023-12-12 05:40
Unknown | TC/TN | A1NF |  |  | 12.31 |  |  |  | 13.1 | mg/L | 33 | 2023-12-12 06:02
Unknown | TC/TN | CF |  |  | 44.71 |  |  |  | 0.5603 | mg/L | 34 | 2023-12-12 06:19
Unknown | TC/TN | A1F |  |  | 107.7 |  |  |  | 9.678 | mg/L | 35 | 2023-12-12 06:35
Unknown | TC/TN | A3F |  |  | 118.8 |  |  |  | 9.21 | mg/L | 36 | 2023-12-12 06:51
Unknown | TC/TN | A2NF |  |  | 11.81 |  |  |  | 13.54 | mg/L | 37 | 2023-12-12 07:08
Unknown | TC/TN | B22NF |  |  | 10.02 |  |  |  | 1.451 | mg/L | 38 | 2023-12-12 07:29
Unknown | TC/TN | A4NF |  |  | 10.69 |  |  |  | 9.141 | mg/L | 39 | 2023-12-12 07:46
Unknown | TC/TN | B14NF |  |  | 14.35 |  |  |  | 2.922 | mg/L | 40 | 2023-12-12 08:08
Unknown | TC/TN | BLANK |  |  | 0.2651 |  |  |  | 0 | mg/L | 41 | 2023-12-12 08:23
Unknown | TC/TN | TC 50 |  |  | 53.55 |  |  |  | 0 | mg/L | 42 | 2023-12-12 08:45
Unknown | TC/TN | TN25 |  |  | 0.4921 |  |  |  | 22.54 | mg/L | 43 | 2023-12-12 09:09
Unknown | TC/TN | BLANK |  |  | 0.2583 |  |  |  | 0 | mg/L | 44 | 2023-12-12 09:24
Unknown | TC/TN | BLANK |  |  | 0.2879 |  |  |  | 0 | mg/L | 44 | 2023-12-12 09:34
Unknown | TC/TN | BLANK |  |  | 0.272 |  |  |  | 0 | mg/L | 44 | 2023-12-12 09:48
Lot 2 Repeated - Carbon data from this data set
Unknown | TC/TN | Blank |  |  | 0.2759 |  |  |  | 0 | mg/L | 1 | 2023-12-12 20:46
Unknown | TC/TN | blank |  |  | 0.2755 |  |  |  | 0 | mg/L | 1 | 2023-12-12 20:54
Unknown | TC/TN | tc50 |  |  | 50.23 |  |  |  | 0 | mg/L | 2 | 2023-12-12 21:09
Unknown | TC/TN | tn25 |  |  | 0.5123 |  |  |  | 23.63 | mg/L | 3 | 2023-12-12 21:24
Unknown | TC/TN | blank |  |  | 0.2465 |  |  |  | 0 | mg/L | 4 | 2023-12-12 21:36
Unknown | TC/TN | tc50 |  |  | 40.14 |  |  |  | 0 | mg/L | 5 | 2023-12-12 21:49
Unknown | TC/TN | tn25 |  |  | 0.616 |  |  |  | 20.3 | mg/L | 6 | 2023-12-12 22:07
Unknown | TC/TN | blank |  |  | 0.2352 |  |  |  | 0 | mg/L | 7 | 2023-12-12 22:21
Unknown | TC/TN | A16 NF |  |  | 9.93 |  |  |  | 1.542 | mg/L | 9 | 2023-12-12 22:37
Unknown | TC/TN | A16F |  |  | 90.51 |  |  |  | 2.835 | mg/L | 10 | 2023-12-12 22:58
Unknown | TC/TN | A11NF |  |  | 12.55 |  |  |  | 0 | mg/L | 11 | 2023-12-12 23:20
Unknown | TC/TN | A19F |  |  | 61.42 |  |  |  | 4.196 | mg/L | 12 | 2023-12-12 23:35
Unknown | TC/TN | A18F |  |  | 0.1019 |  |  |  | 0 | mg/L | 13 | 2023-12-12 23:47
Unknown | TC/TN | A12F |  |  | 51.1 |  |  |  | 4.166 | mg/L | 14 | 2023-12-13 00:03
Unknown | TC/TN | A14F |  |  | 66.78 |  |  |  | 5.292 | mg/L | 15 | 2023-12-13 00:19
Unknown | TC/TN | A3NF |  |  | 0 |  |  |  | 0 | mg/L | 16 | 2023-12-13 00:28
Unknown | TC/TN | A13NF |  |  | 10.27 |  |  |  | 2.193 | mg/L | 17 | 2023-12-13 00:44
Unknown | TC/TN | A17F |  |  | 0.06832 |  |  |  | 0 | mg/L | 18 | 2023-12-13 00:57
Unknown | TC/TN | A7F |  |  | 0.1035 |  |  |  | 0 | mg/L | 19 | 2023-12-13 01:08
Unknown | TC/TN | A4F |  |  | 64.52 |  |  |  | 6.195 | mg/L | 20 | 2023-12-13 01:24
Unknown | TC/TN | A5F |  |  | 0.07088 |  |  |  | 0 | mg/L | 21 | 2023-12-13 01:36
Unknown | TC/TN | B24F |  |  | 126 |  |  |  | 5.151 | mg/L | 22 | 2023-12-13 01:50
Unknown | TC/TN | B16NF |  |  | 0.06769 |  |  |  | 0 | mg/L | 23 | 2023-12-13 02:02
Unknown | TC/TN | BLANK |  |  | 0.2842 |  |  |  | 0 | mg/L | 4 | 2023-12-13 02:14
Unknown | TC/TN | TC50 |  |  | 34.61 |  |  |  | 0 | mg/L | 5 | 2023-12-13 02:31
Unknown | TC/TN | TN25 |  |  | 0.4261 |  |  |  | 22.32 | mg/L | 6 | 2023-12-13 02:48
Unknown | TC/TN | A14NF |  |  | 0.101 |  |  |  | 0 | mg/L | 24 | 2023-12-13 03:01
Unknown | TC/TN | A12NF |  |  | 7.809 |  |  |  | 2.104 | mg/L | 25 | 2023-12-13 03:14
Unknown | TC/TN | B23F |  |  | 91.09 |  |  |  | 4.123 | mg/L | 26 | 2023-12-13 03:30
Unknown | TC/TN | A8NF |  |  | 0 |  |  |  | 0 | mg/L | 27 | 2023-12-13 03:40
Unknown | TC/TN | A6F |  |  | 0.1653 |  |  |  | 0 | mg/L | 28 | 2023-12-13 03:51
Unknown | TC/TN | A2F |  |  | 61.54 |  |  |  | 11.75 | mg/L | 29 | 2023-12-13 04:07
Unknown | TC/TN | B16F |  |  | 0.4483 |  |  |  | 0 | mg/L | 30 | 2023-12-13 04:19
Unknown | TC/TN | B15NF |  |  | 1.806 |  |  |  | 0.6468 | mg/L | 31 | 2023-12-13 04:32
Unknown | TC/TN | B24NF |  |  | 5.82 |  |  |  | 1.253 | mg/L | 32 | 2023-12-13 04:47
Unknown | TC/TN | A1NF |  |  | 1.988 |  |  |  | 2.743 | mg/L | 33 | 2023-12-13 05:01
Unknown | TC/TN | CF |  |  | 18.61 |  |  |  | 0.2151 | mg/L | 34 | 2023-12-13 05:14
Unknown | TC/TN | A1F |  |  | 48.15 |  |  |  | 3.038 | mg/L | 35 | 2023-12-13 05:29
Unknown | TC/TN | A3F |  |  | 82.86 |  |  |  | 8.963 | mg/L | 36 | 2023-12-13 05:44
Unknown | TC/TN | A2NF |  |  | 8.339 |  |  |  | 14.04 | mg/L | 37 | 2023-12-13 06:01
Unknown | TC/TN | B22NF |  |  | 6.764 |  |  |  | 1.151 | mg/L | 38 | 2023-12-13 06:17
Unknown | TC/TN | A4NF |  |  | 7.538 |  |  |  | 8.646 | mg/L | 39 | 2023-12-13 06:33
Unknown | TC/TN | B14NF |  |  | 0 |  |  |  | 0 | mg/L | 40 | 2023-12-13 06:42
Unknown | TC/TN | BLANK |  |  | 0.2176 |  |  |  | 0 | mg/L | 4 | 2023-12-13 06:52
Unknown | TC/TN | TC50 |  |  | 31.91 |  |  |  | 0 | mg/L | 5 | 2023-12-13 07:07
Unknown | TC/TN | TN25 |  |  | 0.333 |  |  |  | 20.95 | mg/L | 6 | 2023-12-13 07:24
Unknown | TC/TN | BLANK |  |  | 0.1399 |  |  |  | 0 | mg/L | 41 | 2023-12-13 07:36
Unknown | TC/TN | BLANK |  |  | 0.123 |  |  |  | 0 | mg/L | 41 | 2023-12-13 07:43
Unknown | TC/TN | BLANK |  |  | 0.1138 |  |  |  | 0 | mg/L | 41 | 2023-12-13 07:51
Unknown | TC/TN |  |  |  | 0.1067 |  |  |  | 0 | mg/L | 41 | 2023-12-13 08:01
Unknown | TC/TN |  | blank |  | 0.07039 |  |  |  | 0 | mg/L | 1 | 2023-12-13 13:14
Unknown | TC/TN |  | blank |  | 0.07336 |  |  |  | 0 | mg/L | 1 | 2023-12-13 13:22
Unknown | TC/TN |  | blank |  | 0.07711 |  |  |  | 0 | mg/L | 1 | 2023-12-13 13:30
Standard | TC | TC Standards | TC Standards |  | 100 |  |  |  |  | mg/L | 2, 3, 3, 3, 3, 3 | 2023-12-13 14:55
Standard | TN | TN calibration std 50 | TN Standards | [5 empty] | 50 | mg/L | 4, 5, 5, 5, 5, 5 | 2023-12-13 16:24
Unknown | TC/TN |  | blank |  | 0.2191 |  |  |  | 0 | mg/L | 6 | 2023-12-13 16:36
Unknown | TC/TN |  | tc50 |  | 55.3 |  |  |  | 0 | mg/L | 7 | 2023-12-13 16:54
Unknown | TC/TN |  | tn25 |  | 0.6842 |  |  |  | 21.4 | mg/L | 8 | 2023-12-13 17:11
Unknown | TC/TN |  | B18F |  | 153.6 |  |  |  | 6.787 | mg/L | 9 | 2023-12-13 17:27
Unknown | TC/TN |  | B18NF |  | 12.59 |  |  |  | 6.59 | mg/L | 10 | 2023-12-13 17:40
Unknown | TC/TN |  | B13F |  | 11.01 |  |  |  | 1.771 | mg/L | 11 | 2023-12-13 17:56
Unknown | TC/TN |  | B25F |  | 190.1 |  |  |  | 6.725 | mg/L | 12 | 2023-12-13 18:13
Unknown | TC/TN |  | B13F |  | 163.7 |  |  |  | 11.28 | mg/L | 13 | 2023-12-13 18:26
Unknown | TC/TN |  | B21NF |  | 13.74 |  |  |  | 2.221 | mg/L | 14 | 2023-12-13 18:43
Unknown | TC/TN |  | B15F |  | 156.2 |  |  |  | 19.59 | mg/L | 15 | 2023-12-13 18:58
Unknown | TC/TN |  | B14F |  | 219.2 |  |  |  | 16.49 | mg/L | 16 | 2023-12-13 19:12
Unknown | TC/TN |  | B23NF |  | 10.42 |  |  |  | 1.878 | mg/L | 17 | 2023-12-13 19:28
Unknown | TC/TN |  | B22F |  | 176 |  |  |  | 8.311 | mg/L | 18 | 2023-12-13 19:42
Unknown | TC/TN |  | B10NF |  | 20.2 |  |  |  | 336.3 | mg/L | 19 | 2023-12-13 20:00
Unknown | TC/TN |  | B21F |  | 205.3 |  |  |  | 13.15 | mg/L | 20 | 2023-12-13 20:18
Unknown | TC/TN |  | B12NF |  | 10.72 |  |  |  | 3.196 | mg/L | 21 | 2023-12-13 20:31
Unknown | TC/TN |  | B12F |  | 153.2 |  |  |  | 13.2 | mg/L | 22 | 2023-12-13 20:45
Unknown | TC/TN |  | B3NF |  | 11.18 |  |  |  | 6.758 | mg/L | 23 | 2023-12-13 20:58
Unknown | TC/TN |  | B5NF |  | 12.9 |  |  |  | 20.75 | mg/L | 24 | 2023-12-13 21:11
Unknown | TC/TN |  | blank |  | 0.2482 |  |  |  | 0 | mg/L | 6 | 2023-12-13 21:21
Unknown | TC/TN |  | tc50 |  | 47.64 |  |  |  | 0 | mg/L | 7 | 2023-12-13 21:35
Unknown | TC/TN |  | tn25 |  | 0.5892 |  |  |  | 30.84 | mg/L | 8 | 2023-12-13 21:53
Unknown | TC/TN |  | B19NF |  | 11.67 |  |  |  | 3.938 | mg/L | 25 | 2023-12-13 22:08
Unknown | TC/TN |  | B10F |  | 129.8 |  |  |  | 414.8 | mg/L | 26 | 2023-12-13 22:32
Unknown | TC/TN |  | B7F |  | 164.4 |  |  |  | 420.9 | mg/L | 27 | 2023-12-13 22:50
Unknown | TC/TN |  | B4NF |  | 12.55 |  |  |  | 17.03 | mg/L | 28 | 2023-12-13 23:11
Unknown | TC/TN |  | B5F |  | 164.5 |  |  |  | 28.71 | mg/L | 29 | 2023-12-13 23:27
Unknown | TC/TN |  | B6F |  | 110.9 |  |  |  | 254.8 | mg/L | 30 | 2023-12-13 23:45
Unknown | TC/TN |  | B2F |  | 143 |  |  |  | 13.71 | mg/L | 31 | 2023-12-14 00:04
Unknown | TC/TN |  | B1F |  | 119 |  |  |  | 9.452 | mg/L | 32 | 2023-12-14 00:20
Unknown | TC/TN |  | B19F |  | 151.4 |  |  |  | 13.4 | mg/L | 33 | 2023-12-14 00:33
Unknown | TC/TN |  | B20F |  | 134.9 |  |  |  | 8.145 | mg/L | 34 | 2023-12-14 00:46
Unknown | TC/TN |  | B8F |  | 128.2 |  |  |  | 29.71 | mg/L | 35 | 2023-12-14 01:02
Unknown | TC/TN |  | B7NF |  | 21.1 |  |  |  | 342.2 | mg/L | 36 | 2023-12-14 01:20
Unknown | TC/TN |  | B9F |  | 120.1 |  |  |  | 460 | mg/L | 37 | 2023-12-14 01:39
Unknown | TC/TN |  | B20NF |  | 10.61 |  |  |  | 4.532 | mg/L | 38 | 2023-12-14 01:59
Unknown | TC/TN |  | B11NF |  | 11.19 |  |  |  | 4.585 | mg/L | 39 | 2023-12-14 02:21
Unknown | TC/TN |  | B25NF |  | 7.615 |  |  |  | 1.81 | mg/L | 40 | 2023-12-14 02:36
Unknown | TC/TN |  | blank |  | 0.1867 |  |  |  | 0 | mg/L | 41 | 2023-12-14 02:46
Unknown | TC/TN |  | tc50 |  | 46.51 |  |  |  | 0 | mg/L | 42 | 2023-12-14 02:59
Unknown | TC/TN |  | tn25 |  | 0.5399 |  |  |  | 27.32 | mg/L | 43 | 2023-12-14 03:19
Unknown | TC/TN |  | B4F |  | 134.7 |  |  |  | 8.119 | mg/L | 44 | 2023-12-14 03:31
Unknown | TC/TN |  | B1NF |  | 12.36 |  |  |  | 8.404 | mg/L | 45 | 2023-12-14 03:44
Unknown | TC/TN |  | B9NF |  | 21.7 |  |  |  | 371.1 | mg/L | 46 | 2023-12-14 04:07
Unknown | TC/TN |  | B8NF |  | 11.26 |  |  |  | 37.55 | mg/L | 47 | 2023-12-14 04:31
Unknown | TC/TN |  | CNF |  | 2.001 |  |  |  | 1.036 | mg/L | 48 | 2023-12-14 04:50
Unknown | TC/TN |  | B2NF |  | 11.16 |  |  |  | 9.265 | mg/L | 49 | 2023-12-14 05:06
Unknown | TC/TN |  | B3F |  | 74.43 |  |  |  | 6.716 | mg/L | 50 | 2023-12-14 05:21
Unknown | TC/TN |  | CNF |  | 2.242 |  |  |  | 0.3923 | mg/L | 51 | 2023-12-14 05:33
Unknown | TC/TN |  | B6NF |  | 22.2 |  |  |  | 224.7 | mg/L | 52 | 2023-12-14 05:52
Unknown | TC/TN |  | B11F |  | 150.4 |  |  |  | 10.69 | mg/L | 53 | 2023-12-14 06:08
Unknown | TC/TN |  | blank |  | 0.5225 |  |  |  | 0.1563 | mg/L | 54 | 2023-12-14 06:23
Unknown | TC/TN |  | blank |  | 0.1744 |  |  |  | 0 | mg/L | 54 | 2023-12-14 06:31
Unknown | TC/TN |  | blank |  | 0.1609 |  |  |  | 0 | mg/L | 54 | 2023-12-14 06:38